TERMS OF REFERENCE

Provision Electrical Maintenance and Service @ TLTB Head Office

TENDER #: 009/2020

1.0 Background

For Provision of Maintenance of Electrical service including supply of materials parts to the TLTB Head Office in Suva and other TLTB Office nearby.

2.0 Scope of Work

2.1 It will be expected of the service provider to check and rectify electrical connections in switchboard, distribution board, light switches, power point socket and electrical motors at all level;

2.2 To check on earthing system;

2.3 The service provider shall install, adjusts repairs, replaces, troubleshoots electrical panels, conduits, plugs, and switches in all levels. The service provider shall provide warranties for all services performed;

2.4 The service provider shall provide 24/7 recovery service;

2.5 The service provider shall be a licensed Electrician that have specialist for repairs and maintenance of electrical component on both interior and exterior of the building;

2.6 The service provider shall provide electrical maintenance service in line with the Electrical Fiji Ltd (EFL) standard;

2.7 The service provider shall invoice TLTB without taxes for all services.(spare parts and labor);

2.8 The service provider shall provide all supplies, personnel, equipment, tools, materials and other items or services necessary to perform the electrical management and maintenance operation inside and outside the premises;

2.9 All supplies and materials shall be of a type and quality that conform to management and operation standard – ideally original. All supplies, materials and equipment to be used in the performance of work described herein are subject to be checked;

3.0 The service provider must submit to TLTB Head Office a work order identifying the work to be performed;

3.1 The service provider shall not use any material, chemicals, or compounds which TLTB determines would be unsuitable for the intended purpose or harmful to the staff;

3.2 The service provider must give TLTB maintenance requests top priority and attention. The service provider shall provide the following items:

- OHS Attire

- Working equipment

- Transportation

3.3 The service provider shall provide intermediate electrical maintenance, preventive electrical maintenance and schedule inspection;

Contact: Sailosi Babakobau – Mobile fone - 9995023

Email address: sbabakobau@tltb.com.fj

Tender closes at 4.00pm on Friday 11th of December, 2020.